|  | Massachusetts Department of Environmental Protection RTCR-2 |
| --- | --- |
| 8.0 | Source – Well Use one sheet per active groundwater source |
|  | Source Name: |  | Source ID: |  |
|  | Assessment Elements For any shaded box checked, it should be considered an issue and a description must be included. | Issue and/or Description *If any element has not been reviewed, you must include an explanation. |  |
|  |  |  | Yes | No | Not Reviewed* |
| 8.1 | Any unsanitary conditions observed in or around the well (insect or animal activity)? |  |  |  |  |
| 8.2 | Are there any potential cross connections or interconnections impacting the source? |  |  |  |  |
| 8.3 | Where is the raw water sample tap located in relation to the well? Is it prior to storage, treatment, and all other system components (including check valves)? |  |  |  |  |
| 8.4 | Has sampling of the raw water indicated total coliform in the well? If yes, answer the additional questions below. |  |  |  |  |
| 8.5 | Has there been a change in the pumping conditions of the well (volume or rate)? |  |  |  |  |
| 8.6 | Is the well cap properly sealed and water tight? Are there any observable failures in the cap, conduit, or well casing? |  |  |  |  |
| 8.7 | Is the well cap vented and is the vent screened? |  |  |  |  |
| 8.8 | Do the vent and any discharges terminate in an approved air gap? |  |  |  |  |
| 8.9 | How far does the casing extend above grade? | Height: |  |  |  |
| 8.10 | Was there evidence of standing water or flooding having occurred near the wellhead? |  |  |  |  |
| 8.11 | Is the ground properly graded to shed water away from the wellhead? |  |  |  |  |
| 8.12 | Is the wellhead secured to prevent unauthorized access? |  |  |  |  |
| 8.13 | Have there been any activities or land uses in the Zone I that may have contributed to positive bacteria samples? |  |  |  |  |
| 8.14 | Is the well in a pit? If yes, is the pit gravity drained, or is there a sump? If it is an automated pump, is it functional? |  |  |  |  |
| 8.15 | If the well is a flowing artesian well, is the dis-charge directed downgradient from the wellhead? |  |  |  |  |
| 8.16 | Is there an abandoned well nearby that may be impacting this well? |  |  |  |  |
| 8.17 | Was the line pressure-tested to determine if there was a failure in the service line or pitless adapter? |  |  |  |  |
| 8.18 | Has the well construction been evaluated (i.e. by camera in the well)? |  |  |  |  |
| 8.19 | Other comments on the well. |  |  |  |  |
| List all well corrective actions taken (including date). Include assessment element number. |